## Slide 1: NOMAD collimator test
Yuanpeng Zhang
Neutron Scattering Division
Aug-29-2022

## Slide 2
The following two sets of measurement were used for shifter testing,
May 2022 – June 2022
  Full detector coverage
  3D collimation: ROC 38-57, 8, 14, 27, 37
  Diamond: 183699
  MT PAC: 183701
  Si: 183703
  Vrod: 183700
January 2022 – May2022
  Full detector coverage
  Water-jetted, boron-loaded collimators: ROC 59, 63
  3D collimation: ROC 60, 61, 62, 45, 46, 47, 32, 33, 34
  Diamond: 171381
  MT PAC: 168011
  Si: 168014
  Vrod: 168012

## Slide 3
The following two sets of measurement were used for cryostat testing,
May 2022 – June 2022
  Full detector coverage
  3D collimation: ROC 38-57, 8, 14, 27, 37
  Diamond: 182703
  MT PAC: 182706
  Vrod: 182704
January 2022 – May2022
  Full detector coverage
  Water-jetted, boron-loaded collimators: ROC 59, 63
  3D collimation: ROC 60, 61, 62, 45, 46, 47, 32, 33, 34
  Diamond: 169417
  MT PAC: 169403
  Vrod: 169418

## Slide 4
The aim is to see the influence of collimator installation on certain eight-packs upon the data.
So, the test conducted here is,
  Focusing on a certain eight-pack or a certain group of eight-packs, we mask out all detectors other than the eight-pack(s) under focus.
  We align and focus the patterns for the eight-pack(s) under focus. Here, we take diamond sample as our standard and we output the following,
    Dia / Vrod
    MTC / Vrod
    (Dia - MTC) / Vrod
  We conduct the identical set of processing above in parallel for measurements taken before and after the collimator (the 3D one) installation.

## Slide 5
This is an example for the instrument view with all detects but the focused eight-pack masked

## Slide 6: Shifter Results

## Slide 7
Focused eight-packs: #8 (bank-2)
Notes: Top: diamond / Vrod & MTC / Vrod, before and after collimators installed.
Bottom: (diamond - MTC) / Vrod.
Left and right are the same plots shown in different region.
Same applies across the plots in ALL slides.

## Slide 8
Focused eight-packs: #8 (bank-2)

## Slide 9
Focused eight-packs: #14 (bank-2)

## Slide 10
Focused eight-packs: #14 (bank-2)

## Slide 11
Focused eight-packs: #8 & #14 (bank-2)

## Slide 12
Focused eight-packs: #8 & #14 (bank-2)

## Slide 13
Focused eight-packs: #27 (bank-3)

## Slide 14
Focused eight-packs: #27 (bank-3)

## Slide 15
Focused eight-packs: #38-#51 (bank-4)

## Slide 16
Focused eight-packs: #38-#51 (bank-4)

## Slide 17
Focused eight-packs: #52-#57 (bank-5)

## Slide 18
Focused eight-packs: #52-#57 (bank-5)

## Slide 19: Cryostat Results

## Slide 20
Focused eight-packs: #8 (bank-2)
Notes: Top: diamond / Vrod & MTC / Vrod, before and after collimators installed.
Bottom: (diamond - MTC) / Vrod.
Left and right are the same plots shown in different region.
Same applies across the plots in ALL slides.

## Slide 21
Focused eight-packs: #8 (bank-2)

## Slide 22
Focused eight-packs: #14 (bank-2)

## Slide 23
Focused eight-packs: #14 (bank-2)

## Slide 24
Focused eight-packs: #8 & #14 (bank-2)

## Slide 25
Focused eight-packs: #8 & #14 (bank-2)

## Slide 26
Focused eight-packs: #27 (bank-3)

## Slide 27
Focused eight-packs: #27 (bank-3)

## Slide 28
Focused eight-packs: #38-#51 (bank-4)

## Slide 29
Focused eight-packs: #38-#51 (bank-4)

## Slide 30
Focused eight-packs: #52-#57 (bank-5)

## Slide 31
Focused eight-packs: #52-#57 (bank-5)